[image: image14.png]Channel A, switch
Channel A, status switch

Channel A, status led for extenal object 1
Channel B, switch
Channel B, status switch

Channel B, status led for exteral object 1
Channel C, switch
Channel C, status switch

Channel C, status led for external object 1
Channel D, switch
Channel D, status switch

Channel D, status led for extemal object 1
Channel E, switch
Channel E, status switch

Channel E, status led for external object 1
Channel F, switch
Channel F, status switch

Channel F, status led for exteral object 1
‘Tiggering output, Waking backlight
Panel funciton, Device status

On/off
On/oOff
On/oft
On/oft
On/offt
On/oOff
On/oft
On/Off
On/oft
On/oft
On/Off
On/oft
On/offt
On/Off
On/off
On/offt
On/Off
On/oft
On/oOff
On/Off

1bit
1bit
1bit
1bit
1bit
1bit
1bit
1bit
1bit
1bit
1bit
1bit
1bit
1bit
1bit
1bit
1bit

1bit
SO R
1bit

group the loop need to turn on the light

AAANAAANANAAANANAANANAA

IR R R R R R E R RN EEE RS
L

cc'ccrcecrcccc

i



[image: image15.png]1.2.1 Pannel Interface > Panel Interface > Button interface > LED settings

= Panel Interface

Panel functions

Button interface

Brightness of status LED 100%

Overwrite brightness of status LED via
- © No Yes
object

NG

The mode of backlight LED

~--Backlight during wake-up-—

«

In 158, no action would off the light

Relate to the status light

Active the backlight when detect something

Active the radar function

Brightness of backlight LED 100%
Overwite brightness of backlight LED Via & no  yes
~-The duration of the backlight after waked up-—
Delay time after waking backlight 15 seconds
---Backight during sleep---
Brightness of backlight LED o
Overwrite brightness of backlight LED ia & o yes
[hether status 1D i retated No ©ves |
Master output for controlling other's
backiighn ONo Yes
| ake up backiight by button No O ves |
N g No O Ves
Time to detect sensor circularly for
output only once when triggered
Adjust the gear of detection distance 1
Selection of sensor type Radar
Wake up backlight via object O No Ves
Output triggering signal for waking
backlight No O Yes
Off s triggering value
The triggering value for output * v

© Onis triggering value

/

Active “on” object fuction




            
[image: image16.jpg]Allon

Video

Curtains






[image: image17.png]Li
C%ntrol





Content

21. Product main function


32. Product Specification


33. Backseat Dimension


44. Thickness of keypad


45. Did it have proximity sensor


56. How to set the backlight brightens


57. How to set the backlight delay off


68. How to set the toggle feedback


79. How to set the on with led status, off without led


910. How to set the on with led status, off without led. But proximity sensor detect, then LED status light on


1211. How to turn off the proximity sensor function


1312. How to active keypad radar to turn on the specified light




1. Product main function
a. It can be used to switch lighting, open and close curtains, raise and lower projection screens, etc., with long press, short press and reverse functions;

b. It can control the dimming equipment and has functional output of relative dimming and absolute dimming;

c. 8-bit scene control can be performed and the set scene functions can be called;

d. With LED indication function, multiple display states can be selected, such as: normally open, normally closed, and flashing…

2. Product Specification
	Bus voltage
	21-30 VDC，power from KNX bus 

	Bus current
	≤12mA 

	Bus power
	≤360mW

	Shell material
	Metal +PC

	Dimension (H x W x D)
	86 X 86 

	Weight (approx.)
	Approx. 0.2kg

	Installation method
	55 bottom box

	Operating temperature
	-5°C- 45°C  

	Storage temperature
	- 25°C- 55°C 

	Transport temperature
	- 25°C- 70°C 

	Relative humidity
	max 90%


3. Backseat Dimension
Width:52.4MM; Depth:23MM
[image: image1.png]



For actual product measurement
[image: image2.png]g
6
6
-
73
S
4
=
B
%





4. Thickness of keypad
10.5MM
5. Did it have proximity sensor
Yes. And it could detect about 5-15CM distance
6. How to set the backlight brightens

[image: image3.jpg]Panel Interface

Panel functions
— Button interface
Channel A

LED settings

Configuration O Normal mode ' Day / Night mode

Status LED settings

Brightness of status LED

Overwrite brightness of status LED via

object ®No
———-Backlight setting
The mode of backlight LED 0 Always

Brightness of backlight LED

Overwrite brightness of backlight LED via ¢
object

No

Yes

Delay mode

Yes





7. How to set the backlight delay off
Normally we would set 10S delay off, once the radar did not detect people using it, will off the LED light after 10S
[image: image4.jpg]1115 FERBER, BAVIMER, SMEERISHEIR MK22.xx Pannel Interface > Panel Interface > Button interface > LED settings

= Panel Interface Configuration © Normal mode  Day/ Night mode
s e Status LED seftings-—
- Button nterface Brightness of status LED 100% -
Channel A Overwiite brightness of status LEDVia & no  yes
object
Crannel B
CharelC: Backlght setings--
-~ Tt Ot o]
T Backlight during wake-up-—-
Brightness of backlight LED 100% =
Channel F
Overwrite brightness of backiight LED Via &\ ygs
object
+ Wiad Themostat ——The duration of the backight after waked up-——

+ Mixed Actuator

Backlight during sleep-

Brightness of backlight LED. o% -
Ovenwrite brightness of backlight LED via
s ONo | ves
‘Whether status LED is related ©ONo | ves
Master output for controlling other's
ot O No | ves
Wake up backlight by button ONo | Yes

Time to detect sensor circularly for

it only once when triggered -
Adjust the gear of detection distance 1 v
Selection of sensor type Radar v
‘Wake up backlight via object ONo | Ves

Output tiggering signal for waking
backlight ®no




8. How to set the toggle feedback
[image: image5.png]Panel Interface Blocking function © Disabled  Enabled

ot onctons Debounce time Toms
- Select function Suitching
Channel & Switching mode ToggleON/OFP)
cramet® Tosglevalue According to the sent value
Channel € 9 G According to the feedback value.
Channel D Read satus object at voltage recovery.
ChannelE
Status LED. Disabled © Enabled
Channel
~-Control by extemal oject-—-
Ty
¢ external object 1 for Tbit Disabled © Enabled
+ Mited Thermostat
LED colour of value = ' for 1bit oft
+ Mired Actustor
LED colour of value = "1 for 1bit on

Read status object at voltage recovery

(1bit object 1) ®No Oves




[image: image6.png]5 .

J
]
3
)
]
)
]
]
>
7

B Jmunie ik BB KB
hannel A, switch On/Off swicht N 3
hannel A, status switch on/off switcht status e 16t
nannel A, status led for external otject On/off switcht status 12 16t
Rannel B, switch On7 o Ot
Channel B, status switch on/oft 16t
Channel B, status e for external object on/off 16t
Channel C, svitch On/Off 1bit
‘Channel C, tatus led for external object on/of 1bit
Channel D, svitch on/oft 16t
Channel D, status switch on/oft 16t
Channel D, status led for extenal object on/oft 16t
Channel E, switch on/oft 16t
Channel E, satus switch on/oft 16t
Channel E, status led for external object 1 on/oft 1bit
Channel F, switch On/off 1bit

AnnnnmAn

AnnnAnAAA

sssssss g

sss=ssz3z3

B

<

v

ccce

switd
switd
switd
switd
switd
switd
switd

switd
switd
switd
switd
switd
switd
switd
switd




9. How to set the on with led status, off without led
#1 Turn on the LED Settings
#2 Set the brightness of backlight to be 0%
#3 Then on will has LED on, off without the light. Even for the approach, has no led light on
[image: image7.png]= Button interface
Channel A
Channel B
Channel C
Channel D
Channel E

Channel F

Button interface () Disabled © Enabled
Scene Module 'O Disabled | Enabled
Logic Function (O Disabled ) Enabled

Device status () Disabled © Enabled
Transmission of device status Using read request only <

Buzzer status (O Disabled | Enabled

Setting for reading object (O Disabled | ) Enabled





[image: image8.png]= Panel Interface Configuration O Normal mode Day / Night mode

Panel functions

= Button interface Brightness of status LED 100%
Channel A Ov_enlvnte brightness of status LED via o No Yes
object
Channel B
Channelc 7 Backlight settings-----
Channel D The mode of backlight LED O Always Delay mode
Channel E Brightness of backlight LED 0%
Overwrite brightness of backlight LED via
Channel F object 9 g o No Yes

LED settings




10. How to set the on with led status, off without led. But proximity sensor detect, then LED status light on
#1 Turn on the LED Settings
#2 Set the brightness of backlight to be 0%
#3 Set the LED backlight to be “delay model”

#4 “delay time of led backlight” you could set 5S, 10S… Depends on your requirement
#5 “weather status led related” pls choose yes. Then mean related status and backlight
#6 Select the “Wake up backlight by button”

#7 Wake up the Radar
#8 Select the sensor type, to be “Radar and IR”

#9 Then combine the function with actuator
[image: image9.png]= Button interface
Channel A
Channel B
Channel C
Channel D
Channel E

Channel F

Button interface () Disabled © Enabled
Scene Module 'O Disabled | Enabled
Logic Function (O Disabled ) Enabled

Device status () Disabled © Enabled
Transmission of device status Using read request only <

Buzzer status (O Disabled | Enabled

Setting for reading object (O Disabled | ) Enabled





[image: image10.png]= Panel Interface Configuration O Normal mode Day / Night mode

Panel functions

= Button interface Brightness of status LED 100%
Channel A Ov_enlvnte brightness of status LED via o No Yes
object
Channel B
Channelc 7 Backlight settings-----
Channel D The mode of backlight LED O Always Delay mode
Channel E Brightness of backlight LED 0%
Overwrite brightness of backlight LED via
Channel F object 9 g o No Yes

LED settings




[image: image11.png]Channel A

Channel B

Channel C

Channel D

Channel E

Channel F

Configuration O Normal mode ) Day / Night mode
----- Status LED settings-----
Brightness of status LED 100% A

Overwrite brightness of status LED via
object © No () Yes

---Backlight during wake-up---

Overwrite brightness of backlight LED via
object ONo [ Yes

---The duration of the backlight after waked up---

5 seconds v

---Backlight during sleep---
Brightness of backlight LED 0% v

Overwrite brightness of backlight LED via
object ©/No () Yes

Master output for controlling other's
backlight ©No () Yes





[image: image12.png]Panel Interface

Panel functions

= Button interface

Channel

Channel

Channel

Channel

Channel

Channel

LED settings

A

E

F

The mode of backlight LED Always O Delay mode
---Backlight during wake-up---
Brightness of backlight LED 0%

Overwrite brightness of backlight LED via

object O No Yes

---The duration of the backlight after waked up---

Delay time after waking backlight 5 seconds

---Backlight during sleep---

Brightness of backlight LED 0%

Ov_erwrite brightness of backlight LED via O No Yes

object

Whether status LED is related No O Yes

Mastgr output for controlling other's O No Yes

backlight

Wake up backlight by button No O Yes <«

Wake up backlight by sensor(radar, IR No © Yes /

Time to detect sensor circularly for )
only once when triggered

output

Adjust the gear of detection distance 1

Selection of sensor type Radar and IR €«
Wake up backlight via object O No Yes

Output triggering signal for waking

backlight @No () Yes




11. How to turn off the proximity sensor function
[image: image13.png]Configuration © Normal mode  Day/ Night mode

Brightness of status LED 100% -
Ovenwrite brightness of status LEDVia & o yes
object
Backlight sttings-
~--Backlight during wake-up---
Brightness of backlight LED 100% -

Ovenwrite brightness of backiight LED via ¢ o
object
The duration of the backlight after waked up-—-

~--Backlight during sleep---
Brightness of backlight LED 0% -

Yes

Ovenwrite brightness of backlight LED via ¢
5 o
object

Master output for controlling other's

Yes

backight ©No [ ves
Wake up backlight by button ONo _ Ves
‘Wake up backiight by sensor(radar, IR Yes
‘Wake up backlight via object ©ONo | ves

Output triggering signal for waking
Dackight ©No | ves




12. How to active keypad radar to turn on the specified light

Push Button Keypad FAQ








